## Security
Module | Target | Activity | Total Schedule | Delegate to | Date
Target khusus terkait dengan Improvement atau penerapan hal baru dalam usaha pencapaian target rencana tahunan departemen 2021 | Pengiriman pelatihan petugas Security guna pemenuhan sertifikasi berdasarkan regulasi & undang undang | Sertifikasi Gada Pratama | 1
|  | Sertifikasi Gada Madya | 1
|  | Sertifikasi Gada Utama | 1
|  | Sistem Manajemen Keamanan | 1
|  | Konsep dan Strategi Keamanan | 1
|  | Bahasa Inggris | 1
| Upgrade - penambahan perlengkapan teknologi keamanan | CCTV | 1
|  | Hand metal detector / mirror check / HT / Seragam dan kelengkapannya | 1
Kinerja rutin dalam usaha pencapaian target rencana tahunan departemen 2021 | Review All Security Document 2021 - Module & Manual book - Security Regulation - SOP - Work Instruction - Checklist - Form | Security org. chart & Job des Security | 1
|  | Update CCTV Mapping 2021 | 1
|  | Security checking policy | 1
|  | Security survillance policy | 1
|  | Seluruh SOP Security | 1
|  | Seluruh Instruksi kerja Security | 1
|  | Seluruh lembar pemeriksaan Security | 1
|  | Seluruh formulir Security | 1
| Review seluruh masa berlaku sertifikasi dan lisensi yang berkaitan dengan keamanan | Masa berlaku KTA Security ( In house & Outsource ) | 1
|  | Masa berlaku izin Billboard, Reklame, Signage, Baliho, Pylon | 1
| Pelaksanaan meeting security | Meeting Internal Department | 12
| Pelaksanaan Uji kehandalan peralatan Keamanan dan alat pendukung lainnya | Pemeriksaan HT dan uji kelayakannya | 3
|  | Pemeriksaan alat pengecekan | 3
|  | Pemeriksaan kelayakan loker karyawan | 3
|  | Pemeriksaan uji kelayakan seragam dan atribut - inhouse | 2

## Safety
Module | Target | Activity | Total Schedule | Delegate to | Date
Target khusus terkait dengan Improvement atau penerapan hal baru dalam usaha pencapaian target rencana tahunan departemen 2021 | Kelengkapan pemenuhan kewajiban sertifikasi gedung | Sertifikasi Genset - Pesawat tenaga produksi | 1
| Pengiriman pelatihan petugas Safety guna pemenuhan sertifikasi berdasarkan regulasi & undang undang serta test kompetensi petugas | Pelatihan Sertifikasi Petugas P3K | 1
|  | Pelatihan Sertifikasi Petugas pemadam kebakaran | 1
| Training peningkatan kompetensi petugas Safety | Membuat dan mempersiapkan HIRA | 1
|  | Penyakit akibat Kerja | 1
|  | K3 dilingkungan kerja (office) | 1
Kinerja rutin dalam usaha pencapaian taget rencana tahunan departemen 2021 | Review All Safety Document 2021 - Module & Manual book - Safety Regulation - SOP - Work Instruction - Checklist - Form | Kebijakan K3 Perusahaan/Hotel | 1
|  | Fire Emergency Plan - Rencana penanggulangan dan tindakan dalam kondisi darurat Kebakaran | 1
|  | Fire prevention Plan - Rencana Tindak Pencegahan Kebakaran | 1
|  | Safety Committee structure organization - Struktur organisasi P2K3 | 1
|  | Struktur organisasi team P3K | 1
|  | MSDS - Peraturan penyimpanan dan pengelolaan bahan berbahaya beracun – B3 | 1
|  | Waste Hazmat - Peraturan Pembuangan dan penyimpanan sementara Limbah B3 | 1
|  | Smoking area policy - Peraturan kawasan larangan merokok dan area merokok | 1
|  | All SOP - seluruh SOP Safety | 1
|  | All Check list - seluruh lembar pemeriksaan safety | 1
|  | All Form - seluruh formulir Safety | 1
| Review seluruh masa berlaku sertifikasi dan lisensi yang berkaitan dengan keselamatan | Surat Pengukuhan dan pengesahan P2K3 dari Disnaker | 1
|  | Sertifikasi Ahli K3 | 1
|  | Izin pengelolaan Air Limbah ( IPAL ) | 1
|  | Izin Tempat Pembuangan Sementara Limbah B3 | 1
| Monitoring sirkulasi laporan safety | Monthly Safety Analysis | 12
|  | Monthly Hydrant and APAR Analysis | 12
|  | Laporan Evaluasi tahunan | 1
| Pelaksanaan Pemeriksaan peralatan keselamatan | Assembly Point checking | 4
|  | Emergency Signage checking | 4
|  | TPS LB3 Checking | 4
|  | Pemeriksaan peralatan penanggulangan kebakaran | 2
|  | Pemeriksaan peralatan penanggulangan kecelakaan | 2
| Pelaksanaan Uji kehandalan peralatan keselamatan | Fire Alarm Test | 1
|  | Fire Pump Test | 1
|  | Hydrant test flushing | 1
|  | Emergency Lamp test | 1
|  | Pemeriksaan alat pengindera (Smoke & heat) | 1
|  | Pagging Test | 1
|  | General alarm Test | 1
| Training - Drill untuk karyawan dan manajemen | Training Penggunaan APAR dan hydrant | 3

## Parking
Module | Target | Activity | Total Schedule | Delegate to | Date
Target Khusus terkait Improvement atau Penerapan Hal Baru dalam Usaha Pencapaian Target Rencana Tahunan Departemen 2021 | Pembuatan Laporan dan Distribusinya | Rencana Antisipasi Parking untuk Hari Besar dan Event (Lebaran, Natal, Tahun Baru, Pemilu, Event Rutin) | 1
| Upgrade - Penambahan Perlengkapan dan Peralatan Parkir dan Teknologi Sistem Parkir | Pembaruan dan Penambahan Signage | 1
|  | Pemasangan kamera CCTV | 1
|  | Penambahan Pagar Barrier dan Cone | 1
|  | Pembaruan sistem penerangan di area parkir | 1
| Training Pengembangan Metode Kerja Petugas Lapangan dan Operator Parkir & Valet | SOP & Instruksi Kerja Parking | 1
|  | Standardisasi Form dan Checklist Parking | 1
|  | Pedoman Teknis Penyelenggaraan Fasilitas Parkir | 1
|  | Dasar-Dasar Rambu Lalu Lintas | 1
|  | Peraturan Daerah tentang Perparkiran (Tarif dan Pelayanan Parkir) | 1
|  | Pelaksanaan Program 5S (Senyum, Salam, Sapa, Sopan, dan Santun) | 1
|  | Table Top Exercise - Penanganan Kecelakaan antar Kendaraan | 1

## Housekeeping
Module | Target | Activity | Total Schedule | Delegate to | Date
Target khusus terkait dengan Improvement atau penerapan hal baru dalam usaha pencapaian target rencana tahunan departemen 2021 | Trainning Peningkatan kompetensi petugas Housekeeping | Training SOP Housekeeping | 1
|  | Training Instruksi Kerja Housekeeping | 1
|  | Training Basic Housekeeping | 1
| Improvement Landscape | Improvement design landscape | 1
|  | Improvement nursery area | 1
|  | Improvement indoor design landscape | 1
Kinerja rutin dalam usaha pencapaian target rencana tahunan departemen 2021 | Monitoring sirkulasi laporan Housekeeping | Seluruh SOP Housekeeping | 1
|  | Seluruh Instruksi kerja Housekeeping | 1
|  | Seluruh Data keluar masuk Chemical (Stock opname) | 12
|  | Seluruh Data keluar masuk Barang Consumable (Stock opname) | 12
|  | Review Rencana Kerja Bulanan Vendor | 12
|  | Review Rencana Kerja Mingguan Vendor Landscape | 12
|  | Review Rencana Kerja Mingguan Vendor Pest Control | 12
| Pelaksanaan meeting Housekeeping | Monthly Meeting Vendor Pest Control | 12
|  | Monthly Meeting Vendor Hygiene & Sanitary | 12
| Pelaksanaan Uji kehandalan mesin dan alat pendukung lainnya | Pengecekan kondisi peralatan kerja | 12
|  | Check kelayakan house keeping machinery | 12
|  | Pemeriksaan kelayakan store, pantry dan office Housekeeping | 3
|  | Pemeriksaan kelayakan faktor pendukung ( bed, baby coat ) | 3
|  | Check kelayakan house keeping florist equipment | 3
|  | Pengecekan kondisi furniture | 3
|  | Pemeriksaan uji kelayakan seragam dan atribut - inhouse | 2
|  | Pemeriksaan uji kelayakan seragam dan atribut - outsource | 2
| Evaluasi kelayakan linen dan towels | check kondisi dan kelayakan linen dan towels | 12
|  | Linen inventory / stock take | 12
|  | check kondisi dan kelayakan curtain dan upholstery | 12
|  | check kondisi dan kelayakan staff uniform | 1

## Engineering
Module | Target | Activity | Total Schedule | Delegate to | Date
LIFT | Lift Guest | Cleaning & add oil | 12
PUMP - GENSET - BASM | Filter Room - Electric Pump | Cleaning & warming up | 52
| Filter Room - Filter Pump | Cleaning & greasing | 12
| Filter Room - Transfer Pump 1 | Cleaning & greasing | 52
| Filter Room - Transfer Pump 2 | Cleaning & greasing | 12
| Filter Room - Transfer Pump 3 | Cleaning & greasing | 12
| Filter Room - Filter Pump | Cleaning | 52
| Filter Room - Comfresor Pump | Cleaning & greasing | 12
| Filter Room - Exhaust Fan Pump Room | Cleaning | 12
| Genset Room - Genset | Cleaning & warming up | 52
| Genset Room - Exhaust Fan 1 | Cleaning & greasing | 12
| Genset Room - Exhaust Fan 2 | Cleaning & greasing | 12
| Cafetaria - Gas Stove 4 Burner | Cleaning & service | 12
| Cafetaria - Rice Cooker | Cleaning & service | 12
| Cafetaria - Gas Stove Big Burner 1 | Cleaning & service | 12
| Cafetaria - Gas Stove Big Burner 2 | Cleaning & service | 12
| Cafetaria - Cool Bor | Cleaning & check the freon fressure | 12
| Cafetaria - Ice Cube Machine | Cleaning & check the freon fressure | 12
| Cafetaria - Freezer 2 Door | Cleaning & check the freon fressure | 12
| Cafetaria - Ceiling Fan | Cleaning | 12
| Pump Room - Circulation Pump 1 Store | Cleaning & grease | 12
| Pump Room - Circulation Pump 2 Store | Cleaning & grease | 12
| Pump Room - Heat Pump Garden 8,9,1,2 | Cleaning & Check the freon Fressure | 12
| Pump Room - Filter Pump Garden 8 & 9 | Cleaning & grease | 12
| Pump Room - Fountain Pump 8 & 9 | Cleaning & grease | 12
| Pump Room - Filter Pump Terace 1 & 2 | Cleaning & grease | 12
| Pump Room - Fountain Pump 1 & 2 | Cleaning & grease | 24
| Pump Room - Filter Pump Terace 3 & 5 | Cleaning & grease | 24
| Pump Room - Fountain Pump 3 & 5 | Cleaning & grease | 12
| Pump Room - Filter Pump Garden 6 & 7 | Cleaning & grease | 12
| Pump Room - Filter Pump Viceroy Villa | Cleaning & grease | 12
| Pump Room - Filter Pump Vice Regal 1 | Cleaning & grease | 12
| Pump Room - Fountain Pump VR 1 | Cleaning & grease | 12
| Pump Room - Filter Pump Vice Regal 2 | Cleaning & grease | 12
| Pump Room - Fountain Pump VR 2 | Cleaning & grease | 12
| Pump Room - Fountain Pump Delux 10 | Cleaning & grease | 12
| Pump Room - Fountain Pump Delux 11 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 11 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 11 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 15 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 15 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 16 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 16 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 17 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 17 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 18 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 18 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 19 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 19 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 20 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 20 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 21 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 21 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 22 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 22 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 25 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 25 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 26 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 26 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 27 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 27 | Cleaning & grease | 12
| Pump Room - Filter Pump Delux 28 | Cleaning & grease | 12
| Pump Room - Fountain Pump DX 28 | Cleaning & grease | 12
| Pump Room - Filter Pump 1 Main Pool | Cleaning & grease | 12
| Pump Room - Filter Pump 2 Main Pool | Cleaning & grease | 12
| Pump Room - Fountain Pump Main Pool | Cleaning & grease | 12
| Pump Room - Jakuzi Pump Spa | Cleaning & grease | 12
| Pump Room - Blower Pump Jakuzi Spa | Cleaning & grease | 12
| Pump Room - Circulation Pump Spa | Cleaning & grease | 12
EQUIPMENT KITCHEN & RESTAURANT | STP - Blower STP under apartement | Cleaning / Grease | 12
| STP - Blower new STP no 1 | Cleaning / Grease | 12
| STP - Blower new STP no 2 | Cleaning / Grease | 12
| STP - Electrical Panel STP 1 | Cleaning and check conection cable | 12
| STP - Electrical Panel New STP | Cleaning and check conection cable | 12
| STP - Exhaust Pump New STP | Cleaning | 12
| Fish Pond - Sand Filler Fish Pond | Back Wash | 52
| Fish Pond - Sirculation Pump 1 | Cleaning & Check Electrical | 52
| Restaurant - Chiller Under Counter | Cleaning Condensor | 36
| Restaurant - Dish Washing Machine Bar | Cleaning & Check Electrical | 12
| Restaurant - Juicer | Cleaning & Check Bearing | 12
| Restaurant - Blender | Cleaning & Check Bearing | 12
| Restaurant - Lemon squeezer | Cleaning & Check Bearing | 12
| Restaurant - Coffee Maker | Check electricity & blades | 12
| Restaurant - Coffee Urn | Check heater | 12
| Restaurant - Ice Crusher | Check electricity & blades | 12
| Restaurant - Capucino Machine | Check electricity & filter clean water | 12
| Restaurant - Glass cooler no 1 | Cleaning condensor,check electricity and blower fan. | 12
| Restaurant - Glass cooler no 2 | Cleaning condensor,check electricity and blower fan. | 12
| Restaurant - Glass cooler no 3 | Cleaning condensor,check electricity and blower fan. | 12
| Kitchen - Frezzer Nayati 2 door | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Cool wine 1 | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Cool wine 2 | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Cooler pastry | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Frezeer cake pastry | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Frezzer Box sanyo | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Frezzer Box Gea | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Cooler glass Gea | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Frezzer hot kitchen | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Cool Room | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Chiller under counter 1 | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Chiller under counter 2 | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Chiller under counter 3 | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Chiller under counter 4 | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Chiller under counter 5 | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Chiller under counter pastry 1 | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Chiller under counter pastry 2 | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Frezzer Box pastry | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Dish Washing Machine | Check Electrical & Heater | 12
| Kitchen - Ice Cube Machiner | Cleaning condensor, check ampera & the freon pressure | 12
| Kitchen - Microwave | Check heater & electrical | 12
| Kitchen - Water heater 1 | Check thermostat & heater | 12
| Kitchen - Water Heater 2 | Check thermostat & heater | 12
| Kitchen - Blender Robot coupe | Check electrical & Blade | 12
| Kitchen - Blender Krissbow | Check electrical & Blade | 12
| Kitchen - Enighaus machice | Check electrical & Blade | 12
| Kitchen - Selemander Electric Eloma | Check heater & electrical | 12
| Kitchen - Small Grill Stove | Cleaning,chek burner & pilot | 12
| Kitchen - Grill Stove 2 handel | Cleaning,chek burner & pilot | 12
| Kitchen - large Stove Grill 1 | Cleaning,chek burner & pilot | 12
| Kitchen - large Stove Grill 2 | Cleaning,chek burner & pilot | 12
| Kitchen - Coal stove Grill | Cleaning,chek burner & pilot | 12
| Kitchen - 4 Burner Gas stove | Cleaning,chek burner & pilot | 12
| Kitchen - Potato cooker 1 | Cleaning,chek burner & pilot | 36
| Kitchen - Potato cooker 2 | Cleaning,chek burner & pilot | 36
| Kitchen - Oven Electric Henny penny | Check Electric & Heater | 36
| Kitchen - Exhaust Fan hood | Cleaning and check conection cabel | 12
| Kitchen - Exhaust Fan panasonic | Cleaning and check conection cabel | 12
| Kitchen - Celling Fan 1 | Cleaning and check conection cabel | 12
| Kitchen - Celling Fan 2 store room | Cleaning and check conection cabel | 12
| Kitchen - Microwave Pastry | Check Electric & heater | 36
| Kitchen - Large cake blender pastry | Cleaning & check bearing | 36
| Kitchen - Small Cake Blender pastry | Cleaning & check bearing | 36
| Kitchen - Rational combi Oven | Cleaning air filter ,gas pressure and check electricity | 36
| Kitchen - Oven electricity/ element | Cleaning filter udara,check electricity | 36
| Kitchen - Combi oven nayati | Cleaning air filter ,gas pressure and check electricity | 36
POWER PLANT | Generator Room - Generator machine Perkins 400 KVA | Warming up + battery check | 52
| Generator Room - Generator machine Perkins 400 KVA | Regular service ( oil,oil filter,fuel filter,air filter and water coollant and electric system check ) | 2
| Generator Room - LVMDP Electric panel | cleaning and check cable conection | 12
| Generator Room - SUB Distribution panel 1 | cleaning and check cable conection | 12
| Generator Room - SUB Distribution panel 2 | cleaning and check cable conection | 12
| Generator Room - SUB Distribution panel 3 | cleaning and check cable conection | 12
| Filter Room 1 - Ultra Filtration water system | cleaning & Check Electrical and pipes conection,check Feed pump and backwash pump | 12
| Filter Room 1 - Ultra Filtration water system | Cleaning with chemical | 2
| Filter Room 1 - Groundtank row water + grountank clean water | Cleaning and add chemical | 12
| Filter Room 1 - Transfer pump raw water 1 & 2 | Cleaning and check pipes conection+ electric conection | 12
| Filter Room 1 - Transfer pump clean water 1 & 2 | Cleaning and check pipes conection+ electric conection | 12
| Filter Room 1 - Boster pump side store | Cleaning and check pipes conection+ electric conection | 12
| Filter Room 1 - Ground tank clean water side store | Cleaning and add chemical | 12
| Filter Room 2 Side New Gym - ULTRA FILTRATION SYSTEM | cleaning & Check Electrical and pipes conection,check Feed pump and backwash pump | 12
| Filter Room 2 Side New Gym - ULTRA FILTRATION SYSTEM | Cleaning with chemical | 2
| Filter Room 2 Side New Gym - Groundtank row water + grountank clean water | Cleaning and add chemical | 12
| Filter Room 2 Side New Gym - Clean water boster pump | Cleaning and check pipes conection+ electric conection | 12
| Filter Room 2 Side New Gym - Raw water boster pump | Cleaning and check pipes conection+ electric conection | 12
| Filter Room 2 Side New Gym - Hydrant Electric pump | Cleaning and check pipes conection+ electric conection | 12
| Filter Room 2 Side New Gym - Joky pump | Cleaning and check pipes conection+ electric conection | 12
| Filter Room 2 Side New Gym - Distribution electric panel | Cleaning and check cabel conection | 12
| Filter Room 2 Side New Gym - Pump room electric panel | Cleaning and check cabel conection | 12
| Filter Room 2 Side New Gym - Hydrant electric panel | Cleaning and check cabel conection | 12
| Electric Room 1 - Sub distribution panel | Cleaning and check cabel conection | 12
| Electric Room 1 - Electric panel lobby | Cleaning and check cabel conection | 12
| Electric Room 1 - Electric panel butique area | Cleaning and check cabel conection | 12
| Mainpool Area - Pool Pump 1 | Cleaning and check pipes conection+ electric conection | 12
| Mainpool Area - Pool Pump 2 | Cleaning and check pipes conection+ electric conection | 12
| Mainpool Area - Panel Electric | Cleaning and check cabel conection | 12
| Electric Room 2 - Sub distribution panel 1 | Cleaning and check cabel conection | 12
| Electric Room 2 - Sub distribution panel 2 | Cleaning and check cabel conection | 12
AIR CONDITIONER | AC ELEVANT VILLA | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC GARDEN VILLA | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC VICEROY VILLA BED ROOM 1 AND BED ROOM 2 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC TERACE VILA 1 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC TERACE VILA 2 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC TERACE VILA 3 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC TERACE VILA 5 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC POOL SUITE VILLA 6 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC POOL SUITE VILLA 7 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC POOL SUITE VILLA 8 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC POOL SUITE VILLA 9 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 10 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 11 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 15 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 16 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 17 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 18 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 19 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 20 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 21 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 22 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 25 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 26 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 27 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 28 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC NEW APARTEMENT | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC VICEREGAL 60 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC VICEREGAL 61 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC VICEREGAL 62 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC VICEREGAL 63 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC VICEREGAL 65 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 50 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 51 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 52 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 53 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 30 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 31 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 32 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 33 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC DELUXE TERRACE 35 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC SUITE ROOM 1 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC SUITE ROOM 2 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC SUITE ROOM 3 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC SUITE ROOM 4 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC NEW GYM | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC NEW SPA | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC CHEF CAS CADES OFFC | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC PASTRY | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC COOL KITCHEN | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC KITCHEN | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC CHEEF OFFICE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC SPA LEMBAH | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC STORE ROOM | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC PURCHASING OFFICE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC AGM OFFICE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC SALES OFFICE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC ACOUNTING OFFICE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC IT OFFICE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC GM OFFICE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC ELECTRIC ROOM | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC GYM | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC CONFRANCE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC WINE SEALER 1 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC WINE SEALER 2 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC ENGINEER OFFICE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC APERITIF REST | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC APERITIF BAR | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC APERITIF KITCHEN | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC APERITIF STORE | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC BATHROOM APERITIF | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC NEW HOUSE LIVING ROOM | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC NEW HOUSE BEDROOM 1 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC NEW HOUSE BEDROOM 2 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
| AC NEW HOUSE BEDROOM 3 | Cleaning Indoor and outdoor AC,Check Freon pressure,conection cable and check ampere | 6
WATER HEATER | WH ELEVANT VILLA | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH GARDEN VILLA | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH VICE ROY VILLA | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH TERACE VILA 1 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH TERACE VILA 2 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH TERACE VILA 3 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH TERACE VILA 5 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH POOL SUITE 6 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH POOL SUITE 7 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH POOL SUITE 8 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH POOL SUITE 9 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH CENTRAL NEW VILLA | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 10 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 11 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 15 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 16 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 17 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 18 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 19 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 20 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 21 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 22 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 25 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 26 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 27 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH DELUX TERRACE 28 | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH NEW APARTEMENT - 1 UNIT 250 LITER ( RHEEM ) | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH COLD KITCHEN - CAP.100 LTR ARISTON | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH KITCHEN CAP.2 X 100 LTR - ARISTON | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH SHOWER ROOM MAIN POOL - CAP.200 LTR ARISTON | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH LAUNDRY& CANTEEN CAP.300 LTR - RHEEM | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH SHOWER ROOM MAIN POOL - CAP.200 LTR ARISTON | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH CENTRAL APERITIF REST - RHEEM | Cleaning Element & tank,Check conection cable and check ampere | 4
| WH NEW HOUSE - merk wika | Cleaning Element & tank,Check conection cable and check ampere | 4
HEATPUMP | Heatpump Elevant+Garden vila | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| Heatpump VICEROY VILLA | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| Heatpump TERACE VILA 1 + 2 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP POOL SWEET VILLA 6 + 7 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP POOL SWEET VILA 8 +9 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 10 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 11 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 15 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 16 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 17 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 18 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 19 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 20 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 21 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 22 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 25 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 26 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 27 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 28 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 30 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 31 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 32 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 33 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 35 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 50 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 51 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 52 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 53 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HP DELUXE TERRACE 55 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HEATPUMP VICEREGAL 60 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HEATPUMP VICEREGAL 61 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HEATPUMP VICEREGAL 62 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HEATPUMP VICEREGAL 63 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HEATPUMP VICEREGAL 65 | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4
| HEATPUMP OTTHO HOUSE | Cleaning condensor heatpump,Check Freon pressure,conection pipes& cable and check ampere | 4

## parking lengkap
Module | Target | Activity | Total Schedule | Delegate to | Date
Target Khusus terkait Improvement atau Penerapan Hal Baru dalam Usaha Pencapaian Target Rencana Tahunan Departemen 2021 | Pembuatan Laporan dan Distribusinya | Rencana Antisipasi Parking untuk Hari Besar dan Event (Lebaran, Natal, Tahun Baru, Pemilu, Event Rutin) | 1
| Penambahan atau Efisiensi Jumlah Manpower | Review Efisiensi Jumlah Manpower Parking (Outsource) | 1
|  | Review Efisiensi Jumlah Manpower Valet (Outsource) | 1
| Upgrade - Penambahan Perlengkapan dan Peralatan Parkir dan Teknologi Sistem Parkir | Pembaruan dan Penambahan Signage | 1
|  | Perbaikan dan Perawatan Pylon Sign | 1
|  | Penambahan Pagar Barrier dan Cone | 1
| Training Pengembangan Metode Kerja Petugas Lapangan dan Operator Parkir & Valet | SOP & Instruksi Kerja Parking | 1
|  | Standardisasi Form dan Checklist Parking | 1
|  | Pedoman Teknis Penyelenggaraan Fasilitas Parkir | 1
|  | Dasar-Dasar Rambu Lalu Lintas | 1
|  | Peraturan Daerah tentang Perparkiran (Tarif dan Pelayanan Parkir) | 1
|  | Pelaksanaan Program 5S (Senyum, Salam, Sapa, Sopan, dan Santun) | 1
|  | Table Top Exercise - Kehilangan Tiket Parkir | 1
|  | Table Top Exercise - Penanganan Kecelakaan antar Kendaraan | 1
Kinerja Rutin dalam Usaha Pencapaian Target Rencana Tahunan Departemen 2021 | Review All Parking Document 2021 - Module & Manual Book - Internal Memo - File Document Report - File Document Analysis - SOP - Work Instruction - Checklist - Form | Update Parking Matrix 2020 (Hard Copy) | 1
|  | Update Valet Matrix 2020 (Hard Copy) | 1
|  | Ketentuan Tarif Parkir dan Valet sesuai Perda yang berlaku | 1
|  | Dokumen Internal Memo Biaya Kartu Baru dan Biaya Ganti Kartu | 1
|  | Dokumen Internal Memo Biaya Ganti Plat | 1
|  | Dokumen Internal Memo Biaya Langganan | 1
|  | Dokumen Internal Memo Biaya Tiket Hilang | 1
|  | Seluruh Dokumen SOP Parkir | 1
|  | Seluruh Dokumen IK Parkir | 1
|  | Form dan Checklist Parkir | 1
|  | Seluruh Dokumen SOP Valet | 1
|  | Seluruh Dokumen IK Valet | 1
|  | Form dan Checklist Valet | 1
| Review Seluruh Masa Berlaku Sertifikasi dan Lisensi yang berkaitan dengan Parking dan Valet Service | Surat Izin Pengelolaan Lahan Parkir (Parkir dan Valet) | 1
|  | Izin HT Parking | 1
|  | Asuransi Jaminan Keamanan dan Keselamatan Mobil Customer yang Menggunakan Jasa Valet Service | 1
|  | Memo Kesepakatan Penggunaan Software Lisensi Parkir | 1
|  | Surat Keputusan Jabatan Vendor Parkir (Penyesuaian dengan Kontrak) | 1
| Pengawasan Kinerja Parking dan Valet Service | Weekly Material Briefing | 52
|  | Laporan Analisa Kejadian (Monthly Analysis) | 12
|  | Laporan Analisa Transaksi Parkir (Manual, Tiket Hilang, Kurang/ Lebih Income, Penggunaan Kartu, Pembatalan Tiket Parkir, Test Tiket, dan Offline) | 12
|  | Laporan Analisa Transaksi Valet | 12
|  | Laporan Pemakaian Roll Tiket dan Manual Tiket | 12
|  | Rekapitulasi Penginputan dan Penghapusan Sticker | 12
|  | Rekapitulasi Overnight Parking | 12
|  | Laporan Audit Lokasi dari Outsource | 12
|  | Laporan Tahunan Parkir | 12
|  | Data Update Terbaru terkait dengan Quota Langganan Compliment Tenant dari TC/ TR | 12
|  | Data Update Terbaru terkait dengan Quota Langganan Compliment Management | 12
|  | Data Penambahan Langganan Parkir setiap Tahun | 12
|  | Dokumen Rekapitulasi Laporan Hasil Checklist Harian Petugas Parkir (Petugas Pos, Lapangan, Pengawas, Central Maintenance dan Manager) | 12
|  | Dokumen Rekapitulasi Laporan Hasil Checklist Harian Petugas Valet Service (Petugas Lot Attendance, Kasir, SPV dan Admin) | 12
|  | Meeting Bulanan Internal Departement | 12
|  | Meeting dengan Vendor Parking | 6
|  | Meeting dengan Vendor Valet | 6
|  | Meeting dengan Kawasan | 6
| Pelaksanaan Uji Kehandalan Peralatan Parkir | Update Server Cadangan Server by IT Support outsource | 12
|  | Pengecekan UPS oleh Team Inhouse dan Central Maintenance | 4
|  | Pengecekan Boomgate oleh Team Inhouse dan Central Maintenance | 4
|  | Pengecekan Jaringan oleh Team Inhouse dan Central Maintenance | 4
|  | Pengecekan Tegangan Power oleh Engineering dan Secure | 4
|  | Pengecekan Peralatan dan Perlengkapan Pos Masuk & Keluar Parkir | 4
|  | Pemeriksaan Fungsi HT | 4
|  | Service Server by Outsource | 2
|  | Pemeriksaan Kelayakan Seragam dan Atribut Outsource | 2
|  | Mapping Signal Phone di Area Parkir | 1
| Pelaksanaan Uji Keterampilan Petugas Parkir dan Valet Service | Simulasi Driver Drop-off dan Pick-up Valet Service Weekend dan Weekday (by Outsource) | 2
|  | Simulasi Traffic Kawasan Masuk Area Parkir dan Keluar Area Parkir | 2
|  | Simulasi Kendala Sistem Parkir | 2
| Pelatihan dan Pembinaan Rutin | Ceramah Keagamaan | 6
|  | Safari Tenant | 6
|  | Motivasi Class | 2
|  | Pelaksanaan Test Kejiwaan secara berkala Inhouse | 1
|  | Pelaksanaan Test Kejiwaan secara berkala Outsource | 1
|  | Pelaksanaan Pengecekan Kesehatan secara berkala Inhouse | 1
|  | Pelaksanaan Pengecekan Kesehatan secara berkala Outsource | 1
|  | Tes Kompetensi Petugas | 1